ПРИМЕНЕНИЕ ДИДЖИТАЙЗЕРОВ CAEN-ХХ42 ДЛЯ РЕГИСТРАЦИИ ЗАРЯЖЕННЫХ ЧАСТИЦ

О.В. Стрекаловский1, А.О. Жукова1, В.Е. Жучко1, А.Н. Солодов1, Ю.М. Середа1

1 Объединенный институт ядерных исследований (ОИЯИ), Дубна

E-mail: stroleg1@yandex.ru

Более 10 лет применения многоканальных сверхскоростных диджитайзеров фирмы CAEN V1742 (DT7542) в ЛЯР ОИЯИ показали их плюсы и минусы при использовании в качестве регистрирующих устройств для время-пролетных спектрометров заряженных частиц [1,2]. Скорость оцифровки 5 ГГц позволяет зарегистрировать форму сигнала с применяемых детекторов (длительностью до 200 нс), а цифровые методы временной привязки обеспечивают измерение временных интервалов с точностью на уровне десятков пс.

Описаны разработанные оригинальное программы для работы с диджитайзерами, позволяющие настраивать параметры, управлять процессом сбора и накопления данных, и просто превратить каждый измерительный канал в анализатор импульсов с разрешением 12 бит.

Список источников

- Yu. V. Pyatkov, D. V. Kamanin , V. E. Zhuchko et al.  Double-Hit Experimental Approach in Study of the Ternary Decays of 252Cf(sf).  ISSN 1547-4771, Physics of Particles and Nuclei Letters, 2025, Vol. 22, No. 2, pp. 312–315.

- O.V.Strekalovsky, D.V.Kamanin, Yu.V.Pyatkov, A.O.Strekalovsky. Electronics of the fission fragments spectrometer COMETA-f. The 27th Symposium on Nuclear Electronics and Computing (NEC 2019), 30 September-4 October 2019, CEUR Workshop Proceedings, 2019, V. 2507, pp 376-380.